## Reporte diario
| SUNNY APP |  |  |  | Fecha del reporte:
| Reporte diario de alarmas — Plataforma Goodwe |  |  |  | 17/09/2026
Hora de alarma | Nombre de la planta | SN | Equipo | Tipo de alarma | Nombre de la alarma | Nivel | Estado | Duración | Sugerencia
05/08/2026 06:08:47 | 527. FRANCISCO GARCÍA (13,86 kWp - 51 kWh) | 5010KNBN25AL0074 | Inversor 1 | Operating Condition Information | PE Loss | Alarma | Ocurriendo | 43d 15h 13m 18s | -
06/08/2026 13:42:37 | 600 Granja Productora | 56000NBB262L0005 | Inversor 1 | Operating Condition Information | PE Loss | Alarma | Ocurriendo | 42d 7h 39m 28s | -
06/08/2026 14:43:27 | 600. GRANJA PRODUCTORA (7,56 kWp - 30 kWh) | 56000NBB262L0005 | Inversor 1 | Operating Condition Information | CT Loss | Alarma | Ocurriendo | 42d 6h 38m 38s | -
23/08/2026 14:08:36 | 601 Ramiro Núñez | 56000NBB262L0047 | Inversor 2 | Operating Condition Information | PE Loss | Alarma | Ocurriendo | 25d 7h 13m 29s | -
12/09/2026 12:43:01 | 441. MARMOLES Y GRANITOS (67 kWp - 245 kWh) | 5020KMTM251W0006 | 5020KMTM251W0006 | Protection Events | Grid Voltage Out of Range | Alarma | Ocurriendo | 5d 8h 39m 4s | -
12/09/2026 12:43:01 | 441. MARMOLES Y GRANITOS (67 kWp - 245 kWh) | 5020KMTM251W0006 | 5020KMTM251W0006 | Protection Events | Grid Frequency Out of Range | Alarma | Ocurriendo | 5d 8h 39m 4s | -
12/09/2026 12:43:01 | 441. MARMOLES Y GRANITOS (67 kWp - 245 kWh) | 5020KMTM251W0006 | 5020KMTM251W0006 | Protection Events | Grid Outage | Fallo | Ocurriendo | 5d 8h 39m 4s | -
12/09/2026 12:43:32 | 441. MARMOLES Y GRANITOS (67 kWp - 245 kWh) | 5035KMTP251W0008 | 5035KMTP251W0008 | Protection Events | Grid Voltage Out of Range | Alarma | Ocurriendo | 5d 8h 38m 33s | -
12/09/2026 12:43:32 | 441. MARMOLES Y GRANITOS (67 kWp - 245 kWh) | 5035KMTP251W0008 | 5035KMTP251W0008 | Protection Events | Grid Outage | Fallo | Ocurriendo | 5d 8h 38m 33s | -
12/09/2026 12:43:32 | 441. MARMOLES Y GRANITOS (67 kWp - 245 kWh) | 5035KMTP251W0008 | 5035KMTP251W0008 | Protection Events | Grid Frequency Out of Range | Alarma | Ocurriendo | 5d 8h 38m 33s | -
12/09/2026 12:43:57 | 441. MARMOLES Y GRANITOS (67 kWp - 245 kWh) | 5012KMTM243W0020 | 5012KMTM243W0020 | Protection Events | Grid Frequency Out of Range | Alarma | Ocurriendo | 5d 8h 38m 8s | -
12/09/2026 12:43:57 | 441. MARMOLES Y GRANITOS (67 kWp - 245 kWh) | 5012KMTM243W0020 | 5012KMTM243W0020 | Protection Events | Grid Outage | Fallo | Ocurriendo | 5d 8h 38m 8s | -
12/09/2026 12:43:57 | 441. MARMOLES Y GRANITOS (67 kWp - 245 kWh) | 5012KMTM243W0020 | 5012KMTM243W0020 | Protection Events | Grid Voltage Out of Range | Alarma | Ocurriendo | 5d 8h 38m 8s | -
17/09/2026 05:58:03 | 482. ROCIO CUPITRE PIMENTONIS (11,16 kWp - 42 kWh) | 54200DSC251S0107 | Inversor 2 | Operating Condition Information | CT Loss | Alarma | Ocurriendo | 15h 24m 2s | -
Resumen del día
Total alarmas activas | 14
Fallos críticos | 3